## Tabelle1
Autor:in | Jahr | Titel | Schlagwort | Hintergrund/Ziele | Methoden | Ergebnisse | Anmerkung
Gienapp, C; Thurow, K; Stoll, R | 2018 | Fitnesstracker – ein moderner Ansatz zur Steigerung der körperlichen Aktivität über die Kontrolle der Herzschlagfrequenz am Handgelenk? | FH#Allgemein Fitbit Blaze | Ziel der Studie war es, die Erfassungsgenauigkeit der Herzfrequenz (Hf) am Bsp. des Ft „Blaze“ (Fitbit) mit der EKG genauen Polar-Uhr im Alltag zu vergleichen und Schlüsse für Präventions-maßnahmen abzuleiten. | Bei 24 gesunden Teilnehmern (Alter: 20-52) wurde die Hf über 24h parallel mit Ft „Blaze“ (Handgelenk) und der Polar-Uhr (Brustgurt) in Echtzeit im Alltag mit kA gemessen. Tagesaktivität und Zeitaufwand wurden protokolliert und vordefinierten Kategorien zugeordnet, um Validität und Robustheit der Hf des Ft zu bewerten. | Mit steigender Alltags- und Sportaktivität nimmt die Hf-Differenz zwischen Ft „Blaze“ und Polar-Uhr zu. Das gilt auch für die Tätigkeitskategorien. Die häufigsten Abweichungen der Hf-Differenzen beider Messsysteme liegen zwischen 5 und 10 S/min. Bis < 90 S/min werden bei der Polar-Uhr höhere Hf, ab 90 S/min bei Ft „Blaze“ höhere Hf gemessen. | kein Download für mich möglich: https://eref.thieme.de/ejournals/1439-4421_2018_08_09#/10.1055-s-0038-1667628
Beck E., Gieseler P. | 2020 | Machen Bits fit oder wie genau messen Fitness-Tracker? | FH#Allgemein Fitbit Versa 2 | Wie genau messen Fitness Tracker wie Fitbit Versa 2 und Garmin A370 am Handgelenk (des nicht-dominanten Arms)? | Es wurden 18 Proband(innen) (4 w., 14 m.; Alter: 18- 47) mit einem Fitbit Versa 2 und einem Garmin A370 Tracker am Handgelenk, des nicht-dominanten Arms, versehen. Beide Tracker liefern Schrittzahl und Pulsfrequenz. Als Kontrollen dienten ein am unteren Rücken angebrachter 3-D-Bewegungssensor (Firma Plux) sowie ein Pulsoximeter. Nach Bestimmen des Ruhepulses wurden alle Probanden auf einem Laufbandergometer für je 3 Min. bei 3, 5 und 8 km pro Stunde belastet. | Beim Vergleich mit dem Plux-Bewegungssensor betrug die Abweichung im Mittel 40 (Fitbit, 28 bis 1023) und 196 (Garmin, 111 bis 1123) Schritte, sodass bei einer sportlichen Aktivität von täglich 20 bis 30 Minuten mit erheblichen Ungenauigkeiten zu rechnen ist. Zwischen den beiden Tracker-Systemen bestand über den gemessenen Zeitraum von 9 Minuten eine Abweichung von 250 Schritten (12 bis 1017). | kein Download für mich möglich: https://eref.thieme.de/ejournals/1438-8804_2020_06#/10.1055-s-0040-1714553
Diaz, K. M., Krupka, D. J., Chang, M. J. et al. | 2015 | Fitbit®: An accurate and reliable device for wireless physical activity tracking | FH#Allgemein Fitbit Flex | We investigated if the Fitbit® met reasonable validity and reliability standards such that they could be used by primary care physicians to monitor their patient's physical activity objectively between clinic visits. | 23 healthy adult participants (10 m.; age range: 20–54) completed a four-stage treadmill exercise protocol consisting of walking at slow (1.9 mph), moderate (3.0 mph), and brisk (4.0 mph) paces; and jogging (5.2 mph). Each stage was 6 min in duration. Participants were fitted with three hip-based Fitbit One® (two on the right, one on the left hip) and two wrist-based Fitbit Flex® (one on the right and left wrists) devices. | The study shows that the Fitbit One® and Fitbit Flex® reasonably and reliably estimate step counts and energy expenditure during walking and running; with the hip-based Fitbit One® outperforming the wrist-based Fitbit Flex®.
J. L. Garza, Z. H. Wu, M. Singh et al. | 2022 | Comparison of the Wrist-Worn Fitbit Charge 2 and the Waist-Worn Actigraph GTX3 for Measuring Steps Taken in Occupational Settings | FH#Allgemein Fitbit Charge 2 | If consumer-based monitors such as Fitbit can measure activity accurately, it could provide opportunities for improved assessment of physical activity in general and at work for research purposes. | We compared measurements of steps taken at work, out-of-work, and in total of a wristworn Fitbit to a waist-worn Actigraph. Seventeen participants wore the Fitbit and Actigraph for 1 full workday. | Compared with the Actigraph, the Fitbit consistently recorded more steps [mean steps at work Fitbit = 7850 (6974), Actigraph = 4396 (1991); out-of-work Fitbit = 6414 (5691), Actigraph = 4116 (3502); total Fitbit = 13 478 (10 666), Actigraph = 8009 (5167)].
G. Hajj-Boutros, M.-A. Landry-Duval, A. S. Comtois et al. | 2022 | Wrist-worn devices for the measurement of heart rate and energy expenditure: A validation study for the Apple Watch 6, Polar Vantage V and Fitbit Sense | FH#Allgemein Fitbit Sense | The purpose of this study was to investigate the accuracy of 3 recently released wrist-worn devices (Apple Watch 6, Polar Vantage V and Fitbit Sense) for heart rate and energy expenditure during various activities | The study population consisted of 60 young healthy individuals (30 men & 30 women; age: 24.9 ± 3.0 years). Heart rate and energy expenditure were measured using the Polar H10 and Metamax 3B, respectively (reference measures) as well as with the 3 wrist-worn devices during 5 activities (sitting, walking, running, resistance exercises and cycling). | The Fitbit Sense presented various degrees of accuracy (from high to poor) dependent on the activity. As for energy expenditure, all 3 devices displayed poor accuracy for all 5 physical activities.
Germini F., Noronha N., Borg Debono V. et al. | 2022 | Accuracy and Acceptability of Wrist-Wearable Activity-Tracking Devices: Systematic Review of the Literature | FH#Allgemein Fitbit Flex Fitbit Alta Fitbit Charge HR2 Fitbit Charge HR Fitbit Charge Fitbut Surge Fitbit Blaze Fitbit Ultra Fitbit One Fitbit Zip | The aim of this study is to perform a systematic review of the literature to assess the accuracy and acceptability (willingness to use the device for the task it is designed to support) of wrist-wearable activity trackers. | We searched MEDLINE, Embase, the Cochrane Central Register of Controlled Trials, and SPORTDiscus for studies measuring physical activity in the general population using wrist-wearable activity trackers. We screened articles for inclusion and, for the included studies, reported data on the studies’setting and population, outcome measured, and risk of bias. | A total of 65 articles were included in our review. Accuracy was assessed for 14 different outcomes/categories: count of specific activities (including step counts), time spent being active, intensity of physical activity (including energy expenditure), heart rate, distance, and speed. The Fitbit Charge and Fitbit Charge HR were consistently shown to have a good accuracy for step counts. None of the tested devices proved to be accurate in measuring energy expenditure.
Leung, W., Case, L., Sung, M.-C. et al. | 2022 | A meta-analysis of Fitbit devices: same company, different models, different validity evidence | FH#Allgemein | This study aims (a) to examine the validity evidence among the various models of Fitbit devices and (b) to investigate the influence of several device factors on the validity evidence of Fitbit models using meta-analysis. | A total of 402 articles were identified through five databases. Upon review of the articles, 29 studies were included in the meta-analysis. Seven different moderator variables, including Fitbit model, device placement, type of device, heart rate capability, release year of devices, activity types and sedentary activity, were identified and included in the meta-analysis to examine their impact on the validity evidence of Fitbit devices. | Fitbit model was not found to be a significant factor impacting validity evidence of Fitbit devices, but heart rate capability, activity types and sedentary activity were found to be significant factors impacting validity evidence. This study found that not all Fitbit models have a similar ability in estimating energy expenditure during physical activity. | kein Download für mich möglich: https://www.tandfonline.com/doi/abs/10.1080/03091902.2021.2006350
Thomson, Nuss, Comstock et al. | 2019 | Heart rate measures from the Apple Watch, Fitbit Charge HR 2, and electrocardiogram across different exercise intensities | FH#Allgemein Fitbit Charge HR 2 | This study compared heart rate (HR) measurements for the Fitbit Charge HR 2 (Fitbit) and the Apple Watch devices with HR measurements for electrocardiogram (ECG) | Thirty young adults (15/15 females/ males, age 23.5 ± 3.0 years) completed the Bruce Protocol. HR measurements were recorded from the ECG and both devices every minute. Average HR for each participant was calculated for very light, light, moderate, vigorous and very vigorous intensities based on ECG-measured HR. | The Apple Watch showed lower RER (2.4–5.1%) compared with the Fitbit (3.9–13.5%) for all exercise intensities. For both devices, the strongest relationship with ECG-measured HR was found for very light PA with very high CCC (>.90) and equivalence. The strength of the relationship declined as exercise intensity increased for both devices. These findings indicate that the accuracy of real-time HR monitoring by the Apple Watch and Fitbit Charge HR2 is reduced as exercise intensity increases.
Russell, Heneghan, Venkatraman | 2019 | Investigation of an estimate of daily resting heart rate using a consumer wearable device | FH#Allgemein HR#Ruhepuls Fitbit Charge HR Fitbit Blaze | This study reports initially on the agreement between the resting heart rate reported by a wearable device (Fitbit Charge HR and Fitbit Blaze) and a chest-based consumer electrocardiogram (Polar H7). | In 45 subjects, the reported resting heart rates agreed within 0.89 bpm over a resting period of 5 mins. The same device and algorithm was then used in a population of 168 subjects (45.9± 15.6 yrs) who were asked to collect their resting heart rate for four days under seven different conditions and times. The reported values were compared with the Daily Resting Heart Rate (DRHR) reported by the wearable device. | The measurement lying down before wake were closest to the DRHR (mean error of 0.0 bpm with a 25-75th percentile spread of ±3.5bpm. There was a significant circadian variation in the reported resting heart rate across subjects, with the highest values reported in the middle of the day. Within individual subjects, the median standard deviation of heart rate at rest was 3-5bpm even measured under nominally similar conditions over four days.
Nelson, Flannery, Flournoy et al. | 2022 | Concurrent and prospective associations between fitbit wearable-derived RDoC arousal and regulatory constructs and adolescent internalizing symptoms | FH#Allgemein HR#Ruhepuls HR#Indikator Fitbit Charge HR | We preregistered analyses using the Adolescent Brain Cognitive Development Study dataset using wearable data collection in 5,686 adolescents (123,862 person-days or 2,972,688 person-hours) to determine whether wearable indices of resting heart rate (RHR), step count, and sleep duration and variability in these measures were cross-sectionally associated with internalizing symptomatology. | Al models were also run controlling for age, sex, body mass index, socioeconomic status, and race. We then performed prospective analyses on a subset of this sample (n = 143) across 25 months that had Fitbit data available at baseline and follow-up in order to explore directionality of effects. | Cross-sectional analyses revealed a small, yet significant, effect size (R2 = .053) that higher RHR, lower step count and step count variability, and greater variability in sleep duration were associated with greater internalizing symptoms. Cross-lagged panel model analysis revealed that there were no prospective associations between wearable variables and internalizing symptoms (partial R2 = .026).
Geitel, J. | 2016 | Der Zusammenhang zwischen der Herzratenvariabilität und Stress | HR#Faktoren HR#Indikator | Das Ziel dieser Dissertation ist, die Herzratenvariabiliät als Messparameter für den präoperativen Stress bei Kindern und Jugendlichen zu nutzen, und diesen Stress mittels eines Aufklärungsfilmes vor einem operativen Eingriff messbar zu reduzieren. Die Reduktion dieses Stresses soll über die HRV gemessen werden.
Le Clerg | 2022 | Assessing Stress in College Students After Breathing Meditation With and Without Music | FH#Lehrkontext HR#Indikator Fitbit Inspire 2 | This study aimed to examine the efficacy of combining breathing meditation and listening to music for five minutes a day, five days a week, for two weeks. | 15 undergraduate students completed the study and were randomly assigned to a control group who completed the breathing meditation without music (n=8) and a treatment group who completed the breathing meditation with music (n=7). Participants completed surveys before and after the meditation program. Additionally, participants wore a Fitbit Inspire 2 for the duration of the study to collect physiological data including sleep, activity minutes, steps, and HR. | Participants who completed breathing meditation for two weeks reported a significant reduction in stress and a significant increase in overall mindfulness at post-treatment compared to baseline, independent of whether music was included. However, there were no significant differences in Fitbit measures of physiology.
Wang, Lizardo, Hachen | 2020 | Using Fitbit data to monitor the heart rate evolution patterns of college students | FH#Lehrkontext HR#Faktoren | To investigate what social, psychological, personality, and behavioral factors affect overtime heart rate changes of college students. | The daily heart rates of over 600 undergraduates were unobtrusively recorded via Fitbit devices from August 16, 2015, to May 13, 2017. Latent Growth-Curve modeling strategy is utilized to examine how daily mean heart rate and its standard deviation change over time, and what foregoing factors predict observed changes. | The mean heart rate increased and its standard deviation stayed the same over the 637 days. Heart rate levels go up with that of social contacts, an indicator of peer influence. Both daily heart rate levels and changes are also affected by multiple external factors.
Shachter, J., Kangas, M.; Sweller, N. et al. | 2022 | Affective States and Heart Rate Response: Measuring Foreign Language Speaking Performance Reactions in a Japanese University Classroom | FH#Lehrkontext HR#Faktoren HR#Indikator Fitbit Charge 3 | This study set out to address this gap in language learning research by employing Fitbit smart watches as a tool to unobtrusively collect heart rate (HR) response data. | Participants were undergraduate Japanese language students (5 males and 5 females, mean age = 19.7 years, SD = .95). Over three sessions, students wore Fitbit smart watches and performed three different class-observed dialogs while seated at their desks. Students were also asked to report their affective state across three intervals within each class session: class start, pre-performance, and post-performance. | Using multi-level modeling statistical analysis, elevated self-reported state feelings of distress and embarrassment were found to be significantly positively related with elevated HR response.